Giswater 3 table data model
Llegend
Documents
Document table used by the document management module
Add info
Tables used to
store add info
of features
Kernel
Tables acting as core tables. These are topology tables (node/arc/connec/element) with catalogs, sector and dma tables.
O&M
Operation & management tables used to integrate information from other collecting data systems
Other
Tables
Hydraulic model
Tables to store all data hydraulic model needs. Input data and result data to enable the full comunication with the EPA software
Real Time
Tables to enable the real time integration data from SCADA, CRM or any database the system needs.

---
Giswater 3 WS table data model
Nomenclator issues
anl_	Result tables of analysis processes
audit_	Result tables of audit processes
cat_	Catalog tables
config	Tables to store sytem/user variables
db_cat	Dictionary of tables, views, rows...
doc_	Tables used by the document	management tool
element_	Table used by the element	management tool
event	Tables used to integrate O&M, using a	strategy of dinamic datamodel
ext_	External information tables (ERP,	SCADA, carto information....
Inp_	Tables used to store all the	information used on EPA software
man	Tables used to store information about	features not stored on node/arc tables
plan	Tables used by the master plan	module
price	Tables to integrate db prices from	other software
rpt_	Tables to store the results of the hydraulic modelling from EPA software
value_	Domain value tables (acting as a	catalog tables)
Tank
man_tank
Soil Catalog
cat_soil
Builder Catalog
cat_builder
Work Catalog
cat_work
Owner Catalog
cat_owner
Manhole
man_manhole
Users
adm_user
Source
man_source
dma (management)
sector (hydraulics)
Waterwell
man_waterwell
Polygon
Junction
man_junction
Reduction
man_reduction
Node
node
Node Type
node_type
Node material Catalog
cat_mat_node
Node Catalog
cat_node
Node documents
doc_x_node
Valve
man_valve
Doc type
doc_type
Hydrant
man_hydrant
Arc documents
doc_x_arc
Pump
man_pump
doc
Connec documents
doc_x_connec
Filter
man_filter
Meter
man_meter
Register
man_register
Arc
arc
Arc Type
arc_type
Arc material Catalog
cat_mat_arc
Arc Catalog
cat_arc
Expansion tank
man_expansiontank
Flexunion
man_flexunion
Events
om_visit_event
Net Sampleoint
man_netsamplepoint
Connec
connec
Connec Type
connec_type
Connec Type
Node visits
om_visit_x_node
Connec Catalog
cat_connec
Net element
man_netelement
Visit
om_visit
Net wjoin
man_netwjoin
Arc visits
om_visit_x_arc
link
Event parameter
om_visit_parameter
vnode
varc
man_varc
Connec visits
om_visit_x_connec
Element
element
Pipe
man_pipe
Domain value tables
Audit tables
Element Type
Element_type
Element material Catalog
cat_mat_element
Element Catalog
cat_element
Event type
om_visit_parameter_type
Management tables
Analysis tables
Greentap
man_greentap
Fountain
man_fountain
Streeter
Master plan tables
Juction
inp_junction
Pipe
inp_pipe
tank
inp_tank
reservoir
inp_reservoir
valve
inp_valve
pump
inp_pump
Tap
man_tap
Wjoin
man_wjoin
Config
Database catalog
Result topology adaptors
rpt_arcnodearc & rpt_nodearcnode
System
Explitation
Node results
rpt_node
Arc results
rpt_arc
Results catalog
rpt_cat_results
Sector selector
inp_selector_sector
State selector
inp_selector_state
Result selector
rpt_selector_result
RTC DMA Parameters
ext_rtc_scada_dma_period
RTC demand
rtc_inp_demand
Rules
inp_rules
Custom demand
inp_demand
Controls
inp_controls
Sources
inp_sources
Quality
inp_quality
Mixing
inp_mixing
Reactions
inp_reactions_el (gl)
Hydrometer aggregated data
ext_rtc_hydrometer_data
Hydrometer lastest value
ext_rtc_hydrometer_value
Period catalog
rtc_cat_period
Scada aggregated data
ext_rtc_scada_data
Scada lastest value
ext_rtc_scada_value
Times
inp_times
Report
inp_report
Options
inp_options
Project
inp_project_id
Hydrometer- connec
rtc_hydrometer_x_connec
Curves
inp_curve (id)
Energy parameters
inp_energy_el (gl)
Patterns
inp_pattern
Emitter
inp_emitter
Scada Node
rtc_scada_node
Scada Catalog
cat_scada
Hydrometer Catalog
cat_hydrometer
EPA arc type
inp_type_arc
EPA node type
inp_type_node
SCADA data
(table or view from SCADA)
Hydrometer data
(table or view from CRM)

---
Giswater 3 UD table data model
Nomenclator issues
anl_	Result tables of analysis processes
audit_	Result tables of audit processes
cat_	Catalog tables
config	Tables to store sytem/user variables
db_cat	Dictionary of tables, views, rows...
doc_	Tables used by the document	management tool
element_	Table used by the element	management tool
event	Tables used to integrate O&M, using a	strategy of dinamic datamodel
ext_	External information tables (ERP,	SCADA, carto information....
Inp_	Tables used to store all the	information used on EPA software
man	Tables used to store information about	features not stored on node/arc tables
plan	Tables used by the master plan	module
price	Tables to integrate db prices from	other software
rpt_	Tables to store the results of the hydraulic modelling from EPA software
value_	Domain value tables (acting as a	catalog tables)
Manhole
man_manhole
Soil Catalog
Builder Catalog
cat_builder
Work Catalog
cat_work
Owner Catalog
cat_owner
Wjump
man_wjump
dma (management)
Junction
man_junction
Junction
man_junction
sector (hydraulics)
Node Type
Outfall
man_outfall
Node documents
doc_x_node
Doc type
doc_type
Node
Netinit
man_netinit
Node material Catalog
cat_mat_node
Arc documents
doc_x_arc
Valve
man_valve
doc
Wwtp
man_wwtp
Gully documents
doc_x_connec
polygon
Storage
man_storage
Arc material Catalog
Arc Catalog
Connec documents
doc_x_connec
Netgully
man_netgully
Arc Type
arc
Chamber
man_chamber
Varc
man_varc
Grate catalog
cat_grate
Events
Conduit
man_conduit
Gully
gully
Siphon
man_siphon
Visit
om_visit
Waccel
man_waccel
Connec type
connec
Event parameter
Element Type
element_type
Event type
om_visit_parameter_type
element
Domain value tables
Audit tables
Element material Catalog
cat_mat_element
Element Catalog
cat_element
Domain value tables
Analysis tables
Raingage
raingage
Streeter
Master plan tables
Database catalog
Juction
inp_junction
Conduit
inp_conduit
divider
inp_divider
outfall
inp_outfall
storage
inp_storage
weir
inp_weir / inp_orifice
pump
inp_pump
Orifice
inp_orifice
Virtual
inp_outlet
System
Explitation
Node results
Arc results
Results catalog
rpt_cat_results
RTC DMA Parameters
ext_rtc_scada_dma_period
Sector selector
inp_selector_sector
State selector
inp_selector_state
Result selector
rpt_selector_result
DWF
rtc_inp_dwf
Loading
inp_rules
Temperature
inp_temperature
Buildup
inp_demand
Lid control
inp_lidcontrol (lidusage)
Options
inp_options
Hydrometer aggregated data
ext_rtc_hydrometer_data
Hydrometer lastest value
ext_rtc_hydrometer_value
Scada aggregated data
ext_rtc_scada_data
Scada lastest value
ext_rtc_scada_value
Washoff
inp_sources
Controls
inp_controls
DWF
inp_dwf
Inflows
inp_inflows
Pollutants
inp_reactions_el (gl)
Aquifers
inp_aquifer
Period catalog
rtc_cat_period
Hydrometer- connec
rtc_hydrometer_x_connec
Landuses
inp_times
Groundwater
inp_groundwater
Treatment
inp_report
RDII
inp_rdii
Pattern
inp_pattern
Timeseries
inp_timeseries (id)
Scada Node
rtc_scada_node
Scada Catalog
cat_scada
Hydrometer Catalog
cat_hydrometer
Evaporation
inp_evaporation
Curve
inp_curve (id)
Energy parameters
inp_energy_el (gl)
Transects
inp_transects
Coverages
inp_pattern
Snowmelt
inp_snowmelt
SCADA data
(table or view from SCADA)
EPA arc type
inp_type_arc
EPA node type
inp_type_node
Hydrometer data
(table or view from CRM)
Node visits
om_visit_x_node
Gully visits
om_visit_x_gully
Arc visits
om_visit_x_arc
Connec visits
om_visit_x_connec

---
Giswater 3 WS view data model
Map tools
Some topology reviewers
Topology builders
Topology repairs
Network editors
Current user state filters
v_state_node (state & psector)
v_state_arc (state & psector)
v_state_connec (state)
Auto Mincut (Class 1)
Rehabit cost
Reconstruct cost
Mincut custom (Class 1)
mincut_valve
_unaccess
Map tools
Some topology reviewers
v_om_psector_x_other
om_other_x_psector
Current user edit inventori filters
selector_expl (exploitation)
Current user edit inp filters
selector_sector (sector)
plan_other_x_psector
v_plan_psector_x_other
Hydraulic analysis export inp file
v_edit_man_tank_pol
v_plan_result_node
v_edit_man_tank
v_plan_node
Hydraulic analysis
Import rpt file
Current user export inp filters
inp_selector_rpt (result_id)
v_edit_node
om_rec_result_node
v_edit_man_manhole
inp node tables
inp_
v_om_psector_x_node
om_node_x_psector
v_edit_man_source
Inp node views
v_inp_
om_reh_result_node
v_edit_man_waterwell
v_plan_psector_x_node
v_edit_man_junction
cat_parameters
Current user epa result filters
inp_selector_result (result_id)
inp_selector_result_compare
PRICES
price_simple
price_compost
plan_node_x_psector
v_edit_man_reduction
v_plan_psector
Work X Prices
v_edit_man_valve
Parameters X works
plan_arc_x_psector
v_om_psector
cat_works
v_edit_man_hydrant
v_plan_psector_x_arc
rpt_inp_node
v_edit_man_pump
om_reh_result_arc
v_rpt_node_result
v_edit_man_filter
om_arc_x_psector
v_node
v_om_psector_x_arc
v_edit_inp_reservoir
v_rpt_node_compare
v_edit_man_meter
v_state_node
v_edit_inp_tank
om_rec_result_arc
v_edit_man_register
v_edit_inp_junction
v_edit_man_expatank
v_edit_inp_valve
v_plan_arc
v_plan_result_arc
v_edit_man_flexunion
v_edit_inp_pump
pavement_x_arc
v_edit_man_netsample
v_edit_man_netelement
cat_pavement
System automatic user filters
om_psector_selector
v_edit_man_netwjoin
v_arc
v_rpt_arc_result
v_edit_arc
v_state_arc
v_edit_inp_pipe
v_rpt_arc_comapre
v_edit_man_varc
Current user plan filters
selector_psector
rpt_inp_arc
v_edit_man_pipe
v_edit_connec
v_state_connec
v_edit_man_greentap
anl_mincut_
result_valve
v_anl_mincut_result_valve
v_edit_man_fountain
anl_mincut_
_selector_valve
inp arc tables
inp_
v_edit_man_tap
anl_mincut_
result_polygon
v_anl_mincut_result_polygon
v_edit_man_wjoin
Inp arc views
v_inp_
v_edit_vnode
anl_mincut_
result_node
v_anl_mincut_result_node
v_edit_link
anl_mincut_
result_arc
v_anl_mincut_result_arc
anl_mincut_
result_connec
v_edit_element
v_anl_mincut_result_connec
anl_mincut_result_
hydrometer
Mincut (class 2 o 3)
Connec/hydrometer
v_anl_mincut_result_hydro
Sample
Point
v_edit_samplepoint
v_edit_dimension
Dimension
Current user mincut result filters
anl_mincut_result_selector (result)
Current user edit inventori filters
selector_state (state)

---
Giswater 3 config data model
Audit cat functions
sys_feature_type
Inp node type
inp_node_type
Config param system
Catalog of mat node
Audit cat error
sys_feature_type
Config param user
Node type
Feature type
sys_feature_type
System feature catalog
sys_feature_cat
User feature catalog
cat_feature
Config client forms
Macro dma
cat_feature
Connec type
Exploitation
cat_feature
dma
cat_feature
Config web fields
Arc type
Sector
cat_feature
Config web forms
Catalog of mat arc
Inp arc type
inp_arc_type
value_state type
Value state
sys_feature_cat
Psector (alternative)
Mincut state
anl_mincut_cat_state
Street axis
man_addfields_parameter
man_type_category
Users catalog
cat_users
Address point
cat_feature
man_type_fluid
man_addfields_value
Prices
Mincut catalog type
anl_mincut_cat_type
man_type_function
Mincut catalog class
anl_mincut_cat_class
man_type_location
Dscenario catalog
Mincut catalog cause
anl_mincut_cat_cause
value_verified
Pressure zone