Water Supply Giswater 2.x data model
Llegend
Documents
Document table used by the document management module
Add info
Tables used to
store add info
of features
Kernel
Tables acting as core tables. These are topology tables (node/arc/connec/element) with catalogs, sector and dma tables.
O&M
Operation & management tables used to integrate information from other collecting data systems
Other
Tables
Hydraulic model
Tables to store all data hydraulic model needs. Input data and result data to enable the full comunication with the EPA software
Real Time
Tables to enable the real time integration data from SCADA, CRM or any database the system needs.

---
Nomenclator issues
anl_	Result tables of analysis processes
audit_	Result tables of audit processes
cat_	Catalog tables
config	Tables to store sytem/user variables
db_cat	Dictionary of tables, views, rows...
doc_	Tables used by the document	management tool
element_	Table used by the element	management tool
event	Tables used to integrate O&M, using a	strategy of dinamic datamodel
ext_	External information tables (ERP,	SCADA, carto information....
Inp_	Tables used to store all the	information used on EPA software
man	Tables used to store information about	features not stored on node/arc tables
plan	Tables used by the master plan	module
price	Tables to integrate db prices from	other software
rpt_	Tables to store the results of the hydraulic modelling from EPA software
value_	Domain value tables (acting as a	catalog tables)
Tank
man_tank
Soil Catalog
cat_soil
Builder Catalog
cat_builder
Work Catalog
cat_work
Owner Catalog
cat_owner
Manhole
man_manhole
Users
adm_user
Source
man_source
dma (management)
sector (hydraulics)
Waterwell
man_waterwell
Polygon
Junction
man_junction
Reduction
man_reduction
Node
node
Node Type
node_type
Node material Catalog
cat_mat_node
Node Catalog
cat_node
Node documents
doc_x_node
Valve
man_valve
Doc type
doc_type
Hydrant
man_hydrant
Arc documents
doc_x_arc
Pump
man_pump
doc
Connec documents
doc_x_connec
Filter
man_filter
Meter
man_meter
Register
man_register
Arc
arc
Arc Type
arc_type
Arc material Catalog
cat_mat_arc
Arc Catalog
cat_arc
Expansion tank
man_expansiontank
Flexunion
man_flexunion
Events
om_visit_event
Net Sampleoint
man_netsamplepoint
Connec
connec
Connec Type
connec_type
Connec Type
Node visits
om_visit_x_node
Connec Catalog
cat_connec
Net element
man_netelement
Visit
om_visit
Net wjoin
man_netwjoin
Arc visits
om_visit_x_arc
link
Event parameter
om_visit_parameter
vnode
varc
man_varc
Connec visits
om_visit_x_connec
Element
element
Pipe
man_pipe
Domain value tables
Audit tables
Element Type
Element_type
Element material Catalog
cat_mat_element
Element Catalog
cat_element
Event type
om_visit_parameter_type
Management tables
Analysis tables
Greentap
man_greentap
Fountain
man_fountain
Streeter
Master plan tables
Juction
inp_junction
Pipe
inp_pipe
tank
inp_tank
reservoir
inp_reservoir
valve
inp_valve
pump
inp_pump
Tap
man_tap
Wjoin
man_wjoin
Config
Database catalog
Result topology adaptors
rpt_arcnodearc & rpt_nodearcnode
System
Explitation
Node results
rpt_node
Arc results
rpt_arc
Results catalog
rpt_cat_results
Sector selector
inp_selector_sector
State selector
inp_selector_state
Result selector
rpt_selector_result
RTC DMA Parameters
ext_rtc_scada_dma_period
RTC demand
rtc_inp_demand
Rules
inp_rules
Custom demand
inp_demand
Controls
inp_controls
Sources
inp_sources
Quality
inp_quality
Mixing
inp_mixing
Reactions
inp_reactions_el (gl)
Hydrometer aggregated data
ext_rtc_hydrometer_data
Hydrometer lastest value
ext_rtc_hydrometer_value
Period catalog
rtc_cat_period
Scada aggregated data
ext_rtc_scada_data
Scada lastest value
ext_rtc_scada_value
Times
inp_times
Report
inp_report
Options
inp_options
Project
inp_project_id
Hydrometer- connec
rtc_hydrometer_x_connec
Curves
inp_curve (id)
Energy parameters
inp_energy_el (gl)
Patterns
inp_pattern
Emitter
inp_emitter
Scada Node
rtc_scada_node
Scada Catalog
cat_scada
Hydrometer Catalog
cat_hydrometer
EPA arc type
inp_type_arc
EPA node type
inp_type_node
SCADA data
(table or view from SCADA)
Hydrometer data
(table or view from CRM)

---
Urban Drainage & Sewerage Giswater 2.x data model
Tables used
to store
add info
Tables acting as core tables. These are topology tables (node/arc/connec/gully/element) with catalogs, sector, dma tables.
Operation & management tables used to integrate information from other collecting data systems
Tables to store all data hydraulic model needs. Input data and result data to enable the full comunication with the EPA software
Tables to enable the real time integration data from SCADA, CRM or any database the system needs.

---
man	Tables used to store information about	features not stored on node/arc tables
Wjump
man_wjump
Outfall
man_outfall
Netinit
man_netinit
Wwtp
man_wwtp
Gully documents
polygon
Storage
man_storage
Netgully
man_netgully
Chamber
man_chamber
Varc
Grate catalog
cat_grate
Conduit
man_conduit
Gully
gully
Siphon
man_siphon
Waccel
man_waccel
Connec type
element_type
Raingage
raingage
Conduit
inp_conduit
divider
inp_divider
outfall
inp_outfall
storage
inp_storage
weir
inp_weir / inp_orifice
Orifice
inp_orifice
Virtual
inp_outlet
DWF
rtc_inp_dwf
Loading
Temperature
inp_temperature
Buildup
Lid control
inp_lidcontrol (lidusage)
Washoff
DWF
inp_dwf
Inflows
inp_inflows
Pollutants
Aquifers
inp_aquifer
Landuses
Groundwater
inp_groundwater
Treatment
RDII
inp_rdii
Pattern
Timeseries
inp_timeseries (id)
Evaporation
inp_evaporation
Curve
Transects
inp_transects
Coverages
Snowmelt
inp_snowmelt
Gully visits
om_visit_x_gully